Customer:

Contact:

Date:

Customer Contact Sheet

Digital X-Ray Detection Solutions

1. Application

NDT	(	  Nuclear     Military     Non-military ind.	( 1.1

Medical	(	  Human  ( 1.2	      Veterinary	( 1.3

  - NDT

Insp. type, duty time:	  In-line 		  Static imaging	    Prototypes / samples

Imaging:		  Radioscopy (2D)	  Cone beam CT (3D)    Fan beam (scan)

Type of inspection:	  PCB	  Casting	  Welding	  Baggage	  Medical tools

Composites	  Dimensions	  Food inspection

Other, please specify:

Type of samples:	Size:      				Thickness:

Material combinations:      	( 2.

  - Medical / Human

Radiotherapy	  Radiosurgery	  Diagnostic	  Dental	  Simulation

Imaging:		  Radioscopy (2D)	  Cone beam CT (3D)	  Fan beam (scan)

Sort of tissue:		  Hard tissue		  Soft tissue		Specify:

Part of the body, size:      	       	( 2.

  - Medical / Veterinarian

Size of animals:		  Small (stationary)		  Large (portable)

Type of animals:

Imaging:		  Radioscopy (2D)	  Cone beam CT (3D)	  Fan beam (scan)	( 2.

2. Geometrical requirements and time limitations

Chamber size:      			C-arm limits (e.g. weight):

Maximum FOV:

Single X-ray pulse, film replacement, no time limitation

High throughput, automatic defect recognition, specify:

X-ray dose limited, specify:

3. Past experience of the OEM

X-ray	(	  System integrator		  Own development

Imaging	(	  Digital	  Analogue	Specify current product in use:

Software	(	  Own development		  Purchased from third party

Hardware	(	  Own development		  Purchased from third party

4. X-ray source

X-ray energy / energy range:      		Spot size / focal spot:

Pulsed, specify pulse time, frequency, and mAs:

Continuous, specify dose rate:

Source power and current (for each focal spot):

Beam shaping filters:		  External	(	  Flat, material and thickness:

Bow tie, ratio:

Internal	(	Material:

Beam profile (non-uniformity):

Beam output angle, divergence angle, FOV:

Anode:		  Non-tiltable		  Tiltable	(	Range:      	    p.t.o.

5. System geometry

Source imager distance (SID)	  Fixed, specify:

Adjustable (longitudinally), SID range:

(	Detector:	  Fixed	  Adjustable

Source:		  Fixed	  Adjustable

Source to object distance:

Object to detector distance:

Detector laterally movable:	  No		  Yes, range:

6.1 Image specifications

MTF / spatial resolution in lp/mm:

Contrast to noise ratio (for specific dose, energy, SID, phantom type):

Smallest object or tolerance to be detected:

Smallest characteristic to be detected (% of sample size or thickness):

Dynamic range, detectable exposure:		min.:      		max.:

Frame rate:	typical:      			min.:      		max.:

Image lag:	short term:      		long term:

Non-uniformity requirements:

Non-linearity requirements:

Defect requirements:

Scatter grid:

6.2 CT / 3D-Imaging (only if applicable)

Voxel size:      		Reconstruction volume:      		Number of projections:

Angle between projections:      		Cone beam arc angle:

What is rotated?	  Gantry / Source and Detector		  Sample or patient

Speed of rotation:      			Cone beam acquisition time:

7. Interfaces

Timing:		Acquisition needs to be synchronised with specific events

No		  Yes, specify events, signal that flags events:

Active signal from detector	  External generator	  Handshaking

Specify:

Mechanical:	Detector:	Max. size:      		Max. weight:

Power supply:	Max. size:      		Max. weight:

Cable requirements:

Other design constraints:

Software / OS:	  Windows 2000	  Windows XP	  VISTA	  LINUX

Processor:	  32 bit		  64 bit

BUS:		  PCI	     PCI-X	  PCI-Express	  USB	  Ethernet	  Firewire

8. Other requirements

Environmental:	Temperature range:      		Rel. humidity:

Detector cooling required?	  No		  Yes, specify:

Regulatory and safety:

Certifications or accreditations:

9. Commercial / comments

Volume:      		Price expectation:

# Text boxes

PerkinElmer Technologies, Wenzel-Jaksch-Strasse 31, 65199 Wiesbaden, Germany. Tel: +49 611 492 247, Fax: +49 611 430

www.perkinelmer.com			Iss 2, December 2009			opto.europe@perkinelmer.com