# Room Data Sheets

| PROJECT: | ROOM: | JOB NO: |
| --- | --- | --- |
|  | ROOM NO: | SHEET NO: |
|  | DEP/UNIT: | DATE: |
|  | FLOOR/LEVEL: | REV: | DATE: |
|  |  | REV: | DATE: |

| TYPE | ITEM | DESCRIPTION (circle option) | No./ SIZE |
| --- | --- | --- | --- |
| Room | Doors | Standard/Wheelchair/Bed/Other |  |
| Envelope |  | Solid, View, Observation, Glass |  |
|  |  | Closer, Hold-Open, Power |  |
|  |  | Lock, Latch, Snib |  |
|  |  | Other |  |
|  | Glazed | Full-Height/Desk/Bench |  |
|  | Screen | Other |  |
|  | Walls | Wet/Dry |  |
|  |  | Fire/Smoke/Acoustic |  |
|  |  | Other |  |
|  | Floor | Carpet/Vinyl/Non-Slip |  |
|  |  | Other |  |
|  | Ceiling | Height If Not 2700 |  |
|  |  | Acoustic |  |
|  |  | Other |  |
| Room | Bench | Sit, Stand, Lab. Instr. |  |
| Fittings |  | Wet/Dry/Chemical Resistant |  |
|  |  | Other |  |
|  | Desk | Reception, Staff-Base |  |
|  |  | Other |  |
|  | Furniture | Cupboard Under/Over Bench |  |
|  |  | Shelving Under/Over Bench |  |
|  |  | Drawers U/B, Wardrobe |  |
|  |  | Door Height Cupboard |  |
|  |  | Writing/Flower Shelf |  |
|  |  | Drug Cupboard |  |
|  |  | Other |  |
|  | Wall- | Pin/Spirit |  |
|  | Board | Other |  |
| Sanitary | Bath | Standard, Assisted, Ambulift |  |
|  |  | Other |  |
|  | Basins | Patient, Clinical, Scrub, Assisted |  |
|  | Fittings | W.C.-Standard/Assisted/Disabled |  |
|  |  | Urinal/B.P.Flusher/Racks |  |
|  |  | S.S. Sink/Drainer |  |
|  |  | Flushing/Pot/Lab. Sink |  |
|  |  | Scrub Trough |  |
|  |  | Slop Hopper, Disp. Unit |  |
|  |  | Shower-Standard/Assisted |  |
|  |  | Floor Waste |  |
|  |  | Mirror, Shelf, Hook |  |
|  |  | Other |  |
|  | Taps | St’dard, Wrist, Elbow, Handsfree |  |
|  |  | Other |  |
|  | Rails | Equipment, I.V., Curtain |  |
|  |  | Towel, Mac, Grab |  |
|  |  | Other |  |
|  | Dispenser | Soap, Disinfectant, Brush, P.T.D. |  |
|  |  | Ice, Iced/Boiling Water |  |
|  |  | Other |  |
| Mechanical | Air | Health dept. Standard |  |
|  |  | Exhaust/Fume C’pbd |  |
|  |  | Other |  |
|  | Gas | Medical-Air, Oxygen, Nitro-Oxide |  |
|  |  | Compressed, Nitrogen, Suction |  |
|  |  | Natural-Gas, Steam |  |
|  |  | Services Pednant |  |
|  |  | Other |  |
| Electrical | Light | General, Dimmer, Step |  |
|  |  | Clinical, Emergency, Night |  |
|  |  | Reading, Examination |  |
|  |  | Other |  |
|  | Power | Standard, 0/15amp. 3phase |  |
|  |  | Emergency, Low Voltage |  |
|  |  | Earth-Leakage A/B |  |
|  |  | Other |  |
|  | Equipment | Ec/Nc Button |  |
|  |  | Tel, Intercom, P.A., Muzak |  |
|  |  | Clock-St., Sw., T/El |  |
|  |  | T.T.-Comml. Cl. Circuit |  |
|  |  | Eca/Nca |  |
|  |  | R’m. Occ’d. Button/Indicator |  |
|  |  | X-Ray Viewing Box |  |
|  |  | Computer Outlet |  |
|  |  | Other |  |
| Equipment | Included | Autoclave/Inst. Washer |  |
|  | In | Bedpan/Blanket Warmer |  |
|  | Contract | Ehd |  |
|  |  | Other |  |
|  | Not | Refridg., Freezer |  |
|  | Included | Computer, Desk |  |
|  | In | Table, Chair, Stool |  |
|  | Contract | Couch, Bed |  |
|  |  | Locker/Bedside |  |
|  |  | Garbage Trolley/Holder |  |
|  |  | Imprest Trolley |  |
|  |  | Lam. Flow Cabinet, Bend. M/C |  |
|  |  | Shelving |  |
|  |  | Other |  |
| NOTE: READ IN CONJUNCTION WITH RELATED ROOM LAYOUT AND ACTIVITY SHEETS. | BRIEFED BY: DEPARTMENT: |
| NOTES: | HOURS IN USE: |
|  | No. OF OCCUPANTS |
|  | DAYLIGHT ESSENTIAL: YES/NO |

### ROOM LAYOUT SHEET

| PROJECT: | ROOM: | JOB NO: |
| --- | --- | --- |
|  | ROOM NO: | SHEET NO: |
|  | DEP/UNIT: | DATE: |
|  | FLOOR/LEVEL: | REV: | DATE: |
|  |  | REV: | DATE: |

| NOTE: READ IN CONJUNCTION WITH RELATED ROOM LAYOUT AND ACTIVITY SHEETS. | BRIEFED BY: DEPARTMENT: |
| --- | --- |

NOTES:

# Equipment Checklist

| PROJECT |
| --- |
| Equipment Name | New/Existing/Re-Use |
| Function |  |
| Size | Width |
|  | Depth |
|  | Height |
| Access | Front |
|  | Back |
|  | Left |
|  | Right |
| Location | Grid Ref. | Alternative |
| Associated Equipment | (E.G. Transformers, Recorders) |
| Mountings | Bench / Floor / Wall / Ceiling / Trolley / Bracket / Cradle / Mounting Height |
|  | Weight | Kg |
| Electrical | Voltage |
|  | AC/DC |
|  | Amps/Watts |
|  | Phase |
|  | Uninterrupted Supply? |
|  | Clause ‘A’/’B’ Service Entry Position |
| Mechanical | GASES Oxygen Nitrous Breathing Suction Other Other Oxide Air |
|  | Steam | Other |
|  | Exhaust | Size |
|  | Exhaust Hood. Direct / Other |
|  | Equipment Heat Load | Watts/Btu |
|  | Service Entry Position |
| Hydraulic | CW | Size |
|  | HW | Size |
|  | Lab Grade Water | Grade |
|  | Rigid Flexible Supply Line |
|  | Connection Type | Stopcock? |
|  | Chemical / Noxious / Radioactive / Other Waste |
|  | Service Entry Position |
|  | Waste Position |
| Special Provisions |  |
| By |  |
| Department |  |
| Notes |  |

# Site Check

Dimensions

Rights of Way/Easements

Contours/Topography

Roads and Paths

Existing Buildings

Dimensional floor plan

Floor levels

Historic Building Listing

Trees

Existing Services

Building Lines and Set Backs

Land Use/Zoning

Views

Wind Patterns

Rainfall

Flooding Potential

Fire Service/Water Pressure

Adjoining Owners

Car Parking Requirements