## Revisions
Laboratory Name:
This file contains the inventory and template form for software quality assurance.
FileName: | S:\Lab Metrology Group\States - Lab Recognition Program\2010-GH\[SAP 10 Software Inventory and Assessment.xls]Form A
Version | Date | Initials | Modifications
1.0 | 2009-04-01 | GH | Basic Software Inventory - original file
2 | 2010-06-25 | GH | Sheets added for Revisions, Computer Inventory, COTS, and Assessment Form A; Codes removed from Software Inventory; Measurement Parameters added to Inventory
2.1 | 2010-06-25 | TS | Technical Assessment form modified and inserted as Form A.

## Computer Inventory
Laboratory Computer Inventory
Computer | Model | Service Tag No. | ID Tag No. | Location | Operating System | Processor | Installed | Status | Maintenance | Network

## COTS
Commercial-off-the-Shelf (COTS) Software Used in the Laboratory
Software Program | Source | Date Implemented

## Software Inventory
Software Inventory and Status
Laboratory:
File Name | Description of Purpose | Used for Procedure | Authorized Users | Program Source | Validation File Name/Location
Laboratory Operations
Uncertainty-Template-Apr2008.xls |  |  |  | NIST | Not validated by NIST. Local modifications must be validated too.
Control Chart Template.xls
PMAP |  |  |  | NIST | Not validated by NIST.
Mass III
Wheelload Weigher/Weight Carts
Mass II
3-1Weigh_16Apr08.xls |  |  |  | NIST | Not validated by NIST.
air91co24-2.xls |  |  |  | NIST | Validation Tab/Worksheet in the File. Form A needed.
Mass I
Lab Wizard 1.0 |  |  |  | NIST | Compiled/provided by NIST. Data sets used on site.
Masscode.DOS |  |  |  | NIST | Compiled/provided by NIST. Data sets used on site.
IR5672-Equations-v1-00-1Mar05.xls |  |  |  | NIST
Gravimetric Volume I
GravCal_16Apr08-2.xls |  |  |  | NIST | Not validated by NIST.
Volume Transfer II
Volume Transfer LPG/SVP
Length
Temperature
Time and Frequency
Other Measurement Parameter - TBD

## Form A
Technical Assessment
This form is completed for each software file used in the laboratory. The form may be added as a tab/worsheet to a file/workbook or may be maintained in a separate electronic/paper file/location in the laboratory.
Codes | Assessment | Pass/Fail | Evidence
A. Software Inspection | Spreadsheet is clear and makes sense
There are instructions for use
Instructions and data input appear on the visible portion of the first worksheet
Data-entry fields are labeled and color coded (it is recommended to avoid red and green)
The Standard Operating Procedure (SOP) used is clearly specified
The number of digits to be rounded to is specified
The user is warned/notified whenever data-entry fields are left blank
Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations
The software opens at the right location within the file
Unused fields/cells are locked
Rows/columns that the operator need not see are hidden
Unused sheets are removed
Worksheets are named appropriately
B. Mathematical Specification | The correct SOP is used
The formulae and methods chosen from that SOP are specified
Sources and references for formulae are specified
The chosen SOP, its methods, and its formulae, are appropriate to the level of precision/uncertainty
C. Code review | The formulae in the fields exactly match the SOP
Repeated calculations appropriately reference the correct cells
Calculations, when tested using standard data or reference test data, show appropriate accuracy
Rounding is done at the appropriate locations in the file
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences
Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa
“Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used
E. Component Testing | Each macro used is functional
Each command/button is functional
Combinations of interdependent macros are functional
Plotted graphs are accurate
Worksheets/reports print properly, if needed to
Conditional (color and non-color) formatting is functional
F. Numerical Reference | Look-up tables and lists match the latest calibration report.
Uncertainties match the latest Scope
Values that reference another workbook or spreadsheet are dated
When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct
The evaluation of the embedded data is dated and documented
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty
J. Security | Equation and calculation cells are protected against inadvertent editing
Cells are locked in place; they cannot be moved/dragged
Confidentiality of passwords is appropriate
Files are backed up automatically
Additional back-up is available at alternate facilities
Files on network drives cannot be accidentally deleted
Cells P69 through P72 are necessary for the drop-down menu in cells J8 through J60
Pass
Fail
N/A