## Site Information
* END CUSTOMER NAME:
QUOTE#
* DATE:
SUBMIT QUOTE REQUEST FOR SCHEDULING OF CUSTOMER WALK-THROUGH
* DISTRIBUTOR NAME / LOCATION / ACCOUNT NO: | [5 empty] | QUOTE THROUGH:
Salesperson
* CELL: |  |  | Region: | Maple Valley, WA. |  | COMPETITOR AWARENESS:
* DISTRIBUTOR ACCOUNT MGR: |  |  | Cell: |  | Office: 253-639-8535
EMAIL:
REP FIRM: |  | *REP SALESMAN: |  |  | *please identify primary contact
REP CELL PHONE: |  | * REP EMAIL: |  |  |  | Job Spec/Pricing info? |  | Y / N ? - if available provide details on Page 2 or attach
* END CUSTOMER CONTACT INFORMATION -- FILL IN END-CUSTOMER QUALIFICATION INFORMATION ON PAGE 2
| * LOCATION 1 -- MAIN |  |  | * LOCATION 2 (if applicable) |  |  | * LOCATION 3 (if applicable)
ADDRESS
CITY / ST
CONTACT
TITLE
PHONE
EMAIL
* ALA-CART SERVICES / DESCRIPTIONS |  |  | * CHECK IF NEEDED |  |  | * REASON FOR REQUESTING SERVICES, I.E., OSHA COMPLIANCE, ACCIDENTS / LEGAL, INSURANCE, EXPANSION OF SAFETY PROGRAM
DATA GATHERING
HAZARD ASSESSMENT (ARC FLASH) | [5 empty] | They are trying to increase safety and reduce the number of outages.
* SHORT-CIRCUIT STUDY
* COORDINATION STUDY
ONE-LINE DRAWINGS
LABEL GENERATION
LABEL INSTALLATION | [5 empty] | ANY COMPETITIVE PRICING INFORMATION?
TRAINING DOCUMENTATION
QUALIFIED SAFETY TRAINING
UNQUALIFIED SAFETY TRAINING
DEVICE EVALUATION STUDY
SAFETY PROGRAM EVALUATION
SAFETY PROGRAM DOCUMENTATION
Internal use only:
END CUSTOMER NAME: | [7 empty] | QUOTE#
0
[8 empty] | DATE: | 0
* CUSTOMER'S FACILITY SIZE & SERVICE INFO FOR WALK-THROUGH:
* NO. OF WALK-THRU LOCATIONS:
| * FACILITY 1 - SQ. FOOTAGE: |  |  |  | * NO. OF INCOMING ELECTRICAL SERVICES FROM UTILITY:
| * FACILITY 2 -SQ. FOOTAGE: |  |  |  | * NO. OF INCOMING ELECTRICAL SERVICES FROM UTILITY:
| * FACILITY 3 - SQ. FOOTAGE: |  |  |  | * NO. OF INCOMING ELECTRICAL SERVICES FROM UTILITY:
| * AGE OF FACILITIES: |  |  |  | * ARE THERE ON-SITE GENERATORS / UPS SYSTEMS?
* CUSTOMER DETAILS NEEDED IF A COMMERCIAL BUILDING:
* NO. OF ELEVATORS & FLOORS: |  |  |  |  | * TENANTS/BUSINESS TYPES IN BUILDING:
* NO. OF CONTROL CENTER ROOMS: |  |  |  |  | * ARE THERE LARGE DATA CENTERS?
* OTHER CUSTOMER DATA NEEDED TO QUALIFY OPPORTUNITY:
* AVAILABILITY AND ACCURACY OF EXISTING ELECTRICAL ONE-LINE DIAGRAMS:
* IS THERE A BUDGET FOR THIS PROJECT? WHAT IS THE APPROX. AMOUNT?
* DOES CUSTOMER HAVE ANY TIMELINE OR DEADLINE EXPECTATIONS OR REQUIREMENTS FOR COMPLETING THE WORK?
* CUSTOMER'S DECISION-MAKING PROCESS (I.E. IDENTIFY DECISION MAKERS AND MANAGERS):
* SPECIAL SAFETY REQUIREMENTS FOR WALK-THRU OF FACILITY: (HARDHATS, SAFETY GOGGLES, STEEL-TOE SHOES, ETC.)
%
PowerStudies.com POWER STUDY REQUEST FORM
INFO NEEDED TO ESTIMATE TIME OF WALK-THROUGH

## Instructions - Site Inventory
Site Inventory Instructions
1 - To estimate the cost of the Power System Study (Arc Flash, Short Circuit, and Protective Device Studies), we need to know the types and quantities of equipment in your facility. This will not require de-energizing any equipment.
2 - To get started, click on the Printout Inventory Sheet Worksheet below. Print out the Data Sheet in 11 X 17" format if possible. You can also print out the sheet in 8 1/2 X 11" format and then enlarge it to 11 X 17" format. Make several copies as you may need them.
3 - Start anywhere in your facility and count the different types of equipment found. Continue through out the facility. We usually place quantity tick marks (i.e. II - qty 3 and IIII - qty 5) for each category. See the Printout Inventory - Example Worksheet.
4 - At the end of the inventory, we enter the equipment totals into the Equipment Inventory Worksheet. This spreadsheet will count up the number of labels needed and the approximate equipment data collection time.
If you have any questions, please call our office at 253-639-8535. Thank you for supplying us with this information. We look forward to preparing a quotation for your facility.
Definitions:
ATSs or MTSs - Automatic Transfer Switch or Manual Transfer Switches
Control Panels - Examples are Lighting control panels or other control panels that have 480 Volt service or 208 V fed by 125 kVA transformer or larger.
Control Panels (w/ Disc & Mtr Starters) - Examples of this type of equipment are compressor skids, packaging equipment, and other equipment skids. These are usually fed by 480 V sources and have disconnect switches (fuse or unfused) and motor starters.
Disconnect Switches - We normally include all LV-low voltage fused & MV-medium voltage fused and non fused disconnect switches. However, including all non-fused low voltage disconnect switches can be very expensive. Since the non fused disconnect switches are normally used for lockout and tagout purposes only, we normally do not include them in our studies.
LV Fused - Recommended to be included in equipment count.
LV Non-Fused - - NOT Recommended to be included in equipment count.
MV Fused - Recommended to be included in equipment count.
MV Non-Fused - Recommended to be included in equipment count.
Enclosed Circuit Breakers - These are separately mounted circuit breakers that are not installed in panelboards, MCCs, switchboards, or switchgear.
T/M Trip - Thermal Magnetic Trip Unit
SS Trip - Solid State or Electronic Type Trip Unit.
Generators - Some generators will have a main breaker installed on it. Please indicate the quantity and type of breaker installed.
T/M Trip - Thermal Magnetic Trip Unit
SS Trip - Solid State or Electronic Type Trip Unit.
Motor Control Centers (MCC) - Enter the name of the form.
Main Device -T/M - Thermal Magnetic Trip Unit or Fuses
Main Breaker - SS Trips - Solid State or Electronic Type Trip Unit.
Motor Starters (externally mounted) - These are separately mounted motor starters that are not installed in motor control centers or control panels.
Motors > 50 HP - We include large motors because they can contribute fault current which effects the short circuit and arc flash calculations.
Bus Duct Runs - Enter the name on the form. These are runs of aluminum or copper bus duct. Usually, they will have plug in fused disconnect switches or plug in enclosed circuit breakers. Count up how many plug-in fused disconnect switches or plug in circuit breakers are on each bus duct run. DO NOT enter them twice above under fused disconnect switches or enclosed circuit breakers. Also, note in the comment section if this bus duct is mounted high and a man lift will be required to obtain the fuse and circuit breaker data.
Panelboards - There are two types of panelboards that we interested in. Panelboards fed at 208 Volts supplied by a transformer rated 125 kVA or greater and all fed by 480 Volts. The other panelboards are fed by 208 Volts and transformers less than 125 kVA (these are automatically considered to be Hazard Risk Category (HRC) 0 by Standard IEEE 1584.
480 & 208 >125 kVA - Fed by 480 V or 208 V transformers rated 125 kVA or greater.
208 fed by <125 kVA - fed by transformers rated less than 125 kVA.(Automatically HRC-0)
PDUs - PDUs usually contain a step-down transformer and one or more panelboards on the secondary. Total the number of transformers and panelboards in each PDU.
Panelboards
Xfmrs - Transformers
Switchboards - Enter the Name of the form
Main or Ties - Main or Tie Breakers or Fused Disconnects
T/M - Fuses -T/M - Thermal Magnetic Trip Unit or Fuses
SS Trips - Solid State or Electronic Type Trip Unit.
Fdr Brkrs/Fuses - Feeder or Branch Breaker or Fuses
T/M - Fuses -T/M - Thermal Magnetic Trip Unit or Fuses
SS Trips - Solid State or Electronic Type Trip Unit.
Switchgear - Enter the Name of the form
Main or Ties - Main or Tie Breakers or Fused Disconnects
T/M - Fuses -T/M - Thermal Magnetic Trip Unit or Fuses
SS Trips - Solid State or Electronic Type Trip Unit.
Fdr Brkrs/Fuses - Feeder or Branch Breaker or Fuses
T/M - Fuses -T/M - Thermal Magnetic Trip Unit or Fuses
SS Trips - Solid State or Electronic Type Trip Unit.
Transformers - Enter the type of transformer
Main Service - Utility or Customer Main Service
Dist >125 kVA - Distribution Transformers Rated > 125 kVA
Dist <125 kVA - Distribution Transformers Rated < 125 kVA
UPS - Uninterruptible Power Supply
Brkr with SS Trip - Breakers with Solid State or Electronic Type Trip Units
Brkr with T/M Trip - Breakers with Thermal Magnetic Trip Units
Transformer - Some larger UPS units have a front end transformer.
VSD (Externally Mounted) - Variable Speed, Frequency, Speed Drives
Lrg w/Relays & CBs - Larger 50HP or larger or VSDs with relay or circuit breaker trip units.
Small - Units rated less that 50 HP that do not have internal circuit breakers with Solid State or Electronic trip units.
Other Equipment (List) - Other equipment that electricians or technicians may work on while energized. List the name and type of equipment. An example of this would be Power Factor Capacitor Bank.

## Printout Inventory Sheet
Internal use only:
END CUSTOMER NAME: |  |  |  | QUOTE#
DATE:
Quantities & Locations
Inventory Taken by:
Drawings
or Locations
Category | SubCategory
ATSs or MTSs
Control Panels
Control Panels (w/ Disc & Mtr Starters)
Disconnect Switches
LV Fused
LV Non-Fused
MV Fused
MV Non-Fused
Enclosed Circuit Breakers
T/M Trip
SS Trip
Generators |  | Quantity
Brkr with SS Trip
Brkr with T/M Trip
Motor Control Centers |  | Quantity
Main Device -T/M - Fuses
Main Breaker - SS Trips
Motor Starters (externally mounted)
Motors > 50 HP
Bus Duct Runs |  | Quantity
Bus Duct Plugs
Panelboards*
480 & 208 >125 kVA
208 fed by <125 kV
PDUs |  | Quantity
Panelboards
Xfmrs
Switchboards |  | Quantity
Main or Ties
T/M - Fuses
SS Trips
Fdr Brkrs/Fuses
T/M - Fuses
SS Trips
Switchgear |  | Quantity
Main or Ties
T/M - Fuses
SS Trips
Fdr Brkrs/Fuses
T/M - Fuses
SS Trips
Transformers
Main Service
Dist >125 kVA
Dist <125 kVA
UPS |  | Quantity
Brkr with SS Trip
Brkr with T/M Trip
VSD (Externally Mounted)
Lrg w/Relays & CBs
Small
Other Equipment (List)
Data Collections and Site Comments:
* Panelboards <125 kVA are 240 V or 208 V panelboards fed by a 125 kVA tranformer or less.
Equipment Inventory
Equipment Inventory

## Printout Inventory - Example
Internal use only:
END CUSTOMER NAME: | [5 empty] | QUOTE#
DATE:
Quantities & Locations
Inventory Taken by: |  |  | Main Electrical Vault | One Line E4A |  |  | Total
Drawings
or Locations
Category | SubCategory
ATSs |  |  | I | II |  |  | 3
Control Panels
Control Panels (w/ Disc & Mtr Starters) |  |  | IIII |  |  |  | 5
Disconnect Switches
| LV Fused |  | I | III |  |  | 4
LV Non-Fused
| MV Fused |  | III | I |  |  | 4
MV Non-Fused
Enclosed Circuit Breakers
T/M Trip
SS Trip
Generators |  | Quantity | I | I |  |  | 2
| Brkr with SS Trip |  |  | I |  |  | 1
| Brkr with T/M Trip |  | I |  |  |  | 1
Motor Control Centers |  | Quantity | I | IIII |  |  | 5
|  | Main Device -T/M - Fuses | I
|  | Main Breaker - SS Trips |  | I
Motor Starters (externally mounted) |  |  | III | IIII |  |  | 7
Motors > 50 HP
Bus Duct Runs |  | Quantity | II |  |  |  | 2
| Bus Duct Plugs |  | IIII IIII |  |  |  | 10
Panelboards*
480 & 208 >125 kVA
208 fed by <125 kVA
PDUs |  | Quantity | II |  |  |  | 2
| Panelboards |  | III |  |  |  | 3
| Internal Xfmrs |  | I |  |  |  | 1
Switchboards |  | Quantity | III |  |  |  | 3
Main or Ties
T/M - Fuses
|  | SS Trips | I |  |  |  | 1
Fdr Brkrs/Fuses
T/M - Fuses
|  | SS Trips | IIII IIII |  |  |  | 10
Switchgear |  | Quantity | III |  |  |  | 3
Main or Ties
T/M - Fuses
|  | SS Trips | I |  |  |  | 1
Fdr Brkrs/Fuses
T/M - Fuses
|  | SS Trips | IIII IIII |  |  |  | 10
Transformers
| Main Service |  | III |  |  |  | 3
| Dist >125 kVA |  | I |  |  |  | 1
| Dist <125 kVA |  | II |  |  |  | 2
UPS |  | Quantity
Brkr with SS Trip
Brkr with T/M Trip
VSD (Externally Mounted)
Lrg w/Relays & CBs
Small
Other Equipment (List)
Data Collections and Site Comments:
* Panelboards <125 kVA are 240 V or 208 V panelboards fed by a 125 kVA tranformer or less.
Equipment Inventory
Equipment Inventory

## Equipment Inventory
END CUSTOMER NAME:
Imclone Bldg 50
Protective
|  | Drawings | Device
|  | or Locations | SubCat | Label
Category | SubCategory |  | Total | Total
ATSs |  |  |  | 0
Control Panels (w/ Disc & Mtr Starters) |  |  |  | 0
Disconnect Switches
| LV Fused |  |  | 0
| LV Non-Fused |  |  | 0
| MV Fused |  |  | 0
| MV Non-Fused |  |  | 0
Enclosed Circuit Breakers
| T/M Trip |  |  | 0
| SS Trip |  |  | 0
Generators |  | Quantity |  | 0
| Brkr with SS Trip |  | 0
| Brkr with T/M Trip |  | 0
Motor Control Centers |  | Quantity |  | 0
|  | Main Device -T/M - Fuses | 0
|  | Main Breaker - SS Trips | 0
Motor Starters (externally mounted) |  |  |  | 0
Motors ≥ 50 HP |  |  |  | 0
Bus Duct Runs |  | Quantity |  | 0
| Bus Duct Plugs |  |  | 0
Panelboards*
| 480 & 208 >125 kVA |  |  | 0
| 208 fed by <125 kVA |  |  | 0
Transformers
| Dist <125 kVA |  |  | 0
PDUs |  | Quantity |  | 0
| Internal Panelboards |  |  | 0
| Internal Xfmrs |  |  | 0
Switchboards |  | Quantity |  | 0
| Main or Ties |  | 0
|  | T/M - Fuses | 0
|  | SS Trips | 0
| Fdr Brkrs/Fuses |  | 0
|  | T/M - Fuses | 0
|  | SS Trips | 0
Switchgear |  | Quantity |  | 0
| Main or Ties |  | 0
|  | T/M - Fuses | 0
|  | SS Trips | 0
| Fdr Brkrs/Fuses |  | 0
|  | T/M - Fuses | 0
|  | SS Trips | 0
Transformers
| Main Service (Utility) |  |  | 0
| Dist >125 kVA |  |  | 0
| Dist <125 kVA |  |  | 0
UPS |  | Quantity |  | 0
| Brkr with SS Trip |  | 0
| Brkr with T/M Trip |  | 0
VSD (Externally Mounted)
| Large > 100 HP |  |  | 0
| Small < 100 HP |  |  | 0
Other Equipment (List)
0
0
0
0
0
0
0
0
|  |  | Total Locations/Labels | 0
Estimated Conductors |  |  |  | 0
Data Collections and Site Comments:
Note on C32: Robert Fuhr: * Panelboards <125 kVA are 240 V or 208 V panelboards fed by a 125 kVA tranformer or less.
Equipment Inventory
Equipment Inventory