A.  GENERAL

List all consultant design disciplines involved with the project.

Provide construction administrative services for Architectural, Structural, HVAC, Plumbing, Fire Protection and Electric Systems and Sitework for the proposed visitor addition and related work based on the project Bid Documents.

List OGS design disciplines if they are part of the design team. Delete paragraph below if OGS does not have a design role.

Coordinate with OGS Design that is providing Electronic Security and Physical Security construction administrative services.

B.  CONSTRUCTION PHASE SERVICES

Provide Services as described in Chapter 8 Construction Phase Guidelines in the current Design Procedures Manual:

- Design Disciplines Coordination

- Submittal Review, Distribution and Status Reports

- Answering Requests For Information (RFIs)

- Issuing Information Bulletins (IBs)

- Attending and Participating in Meetings

- Site Visits and Reports

- Review of Field Orders and Change Orders

- Interpretations of Contract Documents when Contractor disputes arise

List optional design services (if any). Delete paragraph below if none.

In addition to the services described in Chapter 8 include optional service to provide Drawings of Record.

Develop an agreed upon site visit schedule by all parties to best serve the project needs. Include other relevant design disciplines such as geotech, hazmat, elevator, etc. If OGS has no design role delete reference to OGS design.

As part of the Lump Sum amount include site visits for at the following milestones:

| Design Site Visit Matrix (Consultant and OGS Design) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Construction Milestone | Architectural Consultant | Structural Consultant | HVAC Consultant | Electric Consultant | Plumbing Consultant | Physical Security - OGS | Electronic Security - OGS |
| Before concrete slab pour | X |  | X | X | X |  |  |
| 95% steel frame |  | X |  |  |  |  |  |
| Pre-Install masonry meeting | X |  |  |  |  |  |  |
| Masonry mock-up | X |  |  |  |  |  |  |
| Pre-Install 11190 meeting | X |  |  |  |  | X |  |
| Above Ceiling (prior to enclosure) | X |  | X | X | X |  |  |
| Masonry – cmu | X |  |  |  |  |  |  |
| Masonry – brick | X |  |  |  |  |  |  |
| Misc. steel (visit pens at 60% complete) | X |  |  |  |  | X |  |
| Misc. steel (visit pens at 90% complete) | X |  | X | X | X | X | X |
| Final Punchlist | X |  | X | X | X | X | X |

The matrix is a guideline that may be adjusted or amended by the OGS Team Leader and the EIC.

Total of A + B = $XX,XXX LS

Determine if additional site visits are included. Determine the average hours desired to be on site.

C.  ADDITIONAL SITE VISITS

As directed by the OGS Team Leader and the EIC

X (person days, X hours on site) x $X,XXX (LS) each.

Total of C = $X,XXX NTE

D.  FEE ESTIMATE BREAKDOWN

The $X,XXX lump sum portion of the fee shall be invoiced in accordance with the schedule below:

$ X,XXX when the construction phase is 25% complete,

$ X,XXX when the construction phase is 50% complete,

$ X,XXX when the construction phase is 75% complete,

$ X,XXX when the construction phase is substantially complete.

The $X,XXX not-to-exceed portion of the fee shall be invoice upon completion of any additional site visits.

If the PM conducted a Pre-Construction Meeting prior to writing the work order include the following paragraph with the date of meeting.

This Work Order assignment was based on the Pre-Construction Meeting (reference Chapter 7 Bid Phase - Design / Construction Pre-Construction Meeting) between the OGS Team Leader, OGS Project Manager, EIC and Consultant Representatives held on XX/XX/06.