RECORD OF INSPECTION & APPROVAL FOR STRUCTURAL STEEL WORKS

| Project Ref. No.: |  |
| --- | --- |
| Project Title: |  |

Inspection and approval: (Plan to be attached & initiated)

| A | STRUCTURAL STEEL WORK | Compliance √ = ok x = Not ok | Remark |
| --- | --- | --- | --- |
| 1 | Delivery to Site |  |  |
|  | Free from defects? Warping, twisting, distortion, damaged section, pitting |  |  |
|  | Fabricator ( company & contact) |  |  |
|  | Fabricator has the necessary welding facilities, qualified welders and a shelter fabrication yard? |  |  |
| 2 | Structural Steel |  |  |
|  | Grade of Steel |  |  |
|  | Hot rolled / cold-formed (please circle) |  |  |
|  | Cutting & Steel section dimension (D x B X L) |  |  |
|  | Thickness (Flange & Web) |  |  |
|  | Steel markings provided |  |  |
|  | Stiffener plates as per drawing? |  |  |
| 3 | Material Test ( BC1:2008 Design Guide on Use of alternative steel Materials to BS 5950 ) |  |  |
|  | Class of certified steel: Class 1 / 2 (please circle) |  |  |
|  | Factory production Control Certificates provided (please attach) |  |  |
|  | Manufacturer Test Certificates provided (please attach) |  |  |
|  | If Class 2 certified steel materials used: a) Please indicate the type & country of origin: b) Comply to material testing required by BC1 (App. B)? (please submit report ) c) Frequency of material testing comply to BS EN10025-2:2004? (please attach) |  |  |
|  | Any non-certified Steel used? (country of origin) If so, what action has been taken? Rejected / Highlighted to QP for follow up (pls circle) | Y/N |  |
|  | Independent strength tests by certified ISO tester/ ITA (please submit report) |  |  |
|  | Is the laboratory accredited by SAC-SINGLAS? |  |  |
| 4 | Bolted Connection |  |  |
|  | Bolt grade & type conform to BS4190 |  |  |
|  | Bolts dimension (diameter x length) |  |  |
|  | Washer grade & type |  |  |
|  | Connection joints/splice joints constructed as per drawings |  |  |
|  | Bolts tightened to correct torque |  |  |
|  | Min 1.5 thread beyond nut |  |  |
|  | Any defects? (eg Tilted bolts / holes enlarged by torch cutting) What is the remedy action (Attached report)? | Y/N |  |
|  | Embedment length and arrangement of holding down bolts |  |  |
|  | Location plan provided? (Attached hardcopy) |  |  |
| 5 | Welding Connection |  |  |
|  | Size & length of weld according to approved plan & specifications |  |  |
|  | Welding electrode strength comply with BS639 |  |  |
|  | Weld surface clean & free from dust, rust & scales |  |  |
|  | Qualified welder & certificate provided |  |  |
|  | Any welding defects? (eg Undercuts, pits, surface cracks, lack of fusion) What is the remedy action (Attached report)? | Y/N |  |
|  | Welding test (%) : |  |  |
|  | - Ultrasonic test |  |  |
|  | - MPI test |  |  |
|  | - Radiographic test |  |  |
|  | - Penetration flaw detection test |  |  |
|  | - others |  |  |
|  | Location plan provided |  |  |
|  | For welding test failures, any remedial action taken? | Y/N |  |
| 6 | Erection Work |  |  |
|  | PE design & Certificate of Supervision for temporary structure, support bracings tie backs are submitted |  |  |
|  | Structure alignment, level, plumb & correctness |  |  |
|  | Erection sequence is in accordance to PE design |  |  |
|  | Safe work platform & access provided? |  |  |
| 7 | Painting & Surface Preparation |  |  |
|  | Steel area thoroughly cleaned, scraped, wire-brushed/sand blasted, free from rust & scale before printing? |  |  |
|  | Galvanized steel hot dipped to SS117 requirements? |  |  |
|  | Galvanized steel / Surface painted to QP’s specifications? |  |  |
| 8 | Corrosion and Fire Protection |  |  |
|  | Specifications and thickness of material according to approved plan and specifications |  |  |
|  | Protection such as coatings and fire protection coatings be evenly applied and no damages to the coatings. |  |  |

I hereby certify that I had duly checked and satisfied that all works are constructed in accordance with approved drawings and specifications.

________________________________________

Name & Signature of Builder's site representatives

Date: _______________

Approve/ Disapprove

__________________________________

Name & Signature of Resident Engineer

/ Resident Technical Officer

Date: _______________